## Emission Point #1
Client Contact Information
Requestor Name
Company Name
Company Address
City, State, ZIP Code
Telephone
Mobile
Facsimile
Email Address
Requested Information | Data | Units | Date Requested | Date Received
Source Location (Address, City, State, ZIP)
Source Name (i.e. Unit 2, Power Boiler 2, etc.)
Source Type (i.e. combustion turbine generator, coal-fired boiler, incinerator, kiln, SRU, flare, etc.)
Type of Emission Control(s) (i.e. Low NOx Burners, ESP, SCR, SNCR, DFGD, WFGD, etc.)
Type of Fuel Combusted
Applicable Air Quality Regulations governing source (Provide site Air Permit if available)
Number of Monitoring Points (If multiple points, please describe, i.e.SCR inlet duct, FGD inlet duct, stack, etc.)
Expected PO Issue Date (mm/dd/yy)
Requested Delivery Date (mm/dd/yy)
Expected Startup Date (mm/dd/yy)
Expected Certification Date (mm/dd/yy)
Site Elevation (Feet above Sea Level) |  | ft.
Stack / Duct Inside Diameter (If square or rectangular, please provide dimensions as width (w) x height (h)) |  | in.
Distance Upstream (up) or Downstream (dn) from any Flow Disturbance (Any breaching, bend or opening in the stack or duct is a disturbance.) |  | in. up
in. dn
Stack / Duct Orientation (Vertical or Horizontal run)
Probe Mounting Orientation (Vertical or Horizontal)
Width of Stack Annular Space if Lined (if applicable) |  | in.
Thickness of Stack / Duct Liner (If applicable) |  | in.
Stack / Duct Wall Thickness |  | in.
Stack / Duct Pipe Flange Size (i.e. 4" ANSI 150#, etc.) |  | in.
Stack / Duct Flange Pipe Spool Length, Flanfe Face to Inside Stack / Duct Wall (Typically 7 in.) |  | in.
Distance from Sample Probe Location to Analyzer Cabinet / Shelter (Tube Bundle Length) |  | ft.
Probe Location Ambient Temperature (min / max) |  | ° F min
° F max
Stack / Duct Gas Temperature (min / typ / max) |  | ° F min
° F typ
° F max
Stack / Duct Gas Pressure (min / typ / max) |  | in. H2O min
in. H2O typ
in. H2O max
Stack / Duct Gas Moisture Content (Typical) |  | %
Plant Instrument Air Pressure (min / max) |  | psig min
psig max
Plant Instrument Air Dewpoint |  | ° F
Equipment shelter required? (If yes, provide requested size / if no, insert NA) |  | L x W x H (ft)
Analyzer Cabinet / Shelter Location Ambient Temperature (min / max) |  | ° F min
° F max
Plant Power Provided (i.e. 480VAC, 60Hz, 3-Ф, etc.) |  | V, Hz, Ф
UPS Power Required?
UPS Power Provided? (If yes, please provide power source info, i.e. 120VAC, 60Hz, 1-Ф, etc.) |  | V, Hz, Ф
Area Classification for CEMS enclosure interior? (General, Cl 1, Div 2 etc.)
Area Classification for CEMS enclosure exterior? (General, Cl 1, Div 2 etc.)
Area Classification at sample point? (General, Cl 1, Div 2 etc.)
Please Specify Preferred Instrument Manufacturer and Range for Analyzers Listed Below (If not applicable, please insert NA)
NOx Analyzer |  | ppm
SO2 Analyzer |  | ppm
CO Analyzer |  | ppm
COS Analyzer |  | ppm
CS2 Analyzer |  | ppm
TS Analyzer |  | ppm
TRS Analyzer |  | ppm
THC Analyzer |  | ppm
NH3 Analyzer |  | ppm
Hg Analyzer |  | µg/m3
HCl Analyzer |  | ppm
CO2 Analyzer (Diluent) |  | %
O2 Analyzer (Diluent) |  | %
Volumetric Flow Monitor |  | scfm
Opacity Monitor |  | %
PM Monitor |  | mg/m3
Data Acquisition and Handling System Information
Is there a preferred DAHS vendor? (If yes, please state name)
If PLC required, please state manufacturer and model
If HMI required, please state manufacturer and model
Are there PC specifications? (If yes, please state)
Is there a required amount of spare I/O? (If yes please state) |  | %
Is a Remote Client PC required?
On-Site Services Requirements (If required, please state # of days (D) and mobilizations (M). If not applicable, please insert NA)
Installation Assistance |  | D / M
Equipment Startup & Commissioning |  | D / M
RATA Support |  | D / M
RATA Test (Seller or Customer Supplied?)
Will all testing be performed in one monilization to site (If no, please provide number of mobilizations)
Documentation Requirements (If required, # of electronic (E) and printed (P) copies. If not applicable, please insert NA)
Technical Data (Provided in Adobe pdf format or state otherwise) |  | E / P
Project Schedules (Provided in Microsoft Projects or Adobe pdf format or state otherwise) |  | E / P
Drawings (Provided in Adobe pdf format. AutoCAD format available upon request) |  | E / P
Operation & Maintenance Manuals (Provided in hardcopy and Adobe pdf format on DVD) |  | E / P
EPA Quality Assurance/Quality Control Plan (Provided in Microsoft Word format or state otherwise) |  | E / P
EPA Monitoring Plan (Required for 40CFR75 Sources Only) |  | E / P
Additonal Notes: (Please provide information on project requirements not covered above.)

## Emission Point #2
Client Contact Information
Requestor Name
Company Name
Company Address
City, State, ZIP Code
Telephone
Mobile
Facsimile
Email Address
Requested Information | Data | Units | Date Requested | Date Received
Source Location (Address, City, State, ZIP)
Source Name (i.e. Unit 2, Power Boiler 2, etc.)
Source Type (i.e. combustion turbine generator, coal-fired boiler, incinerator, kiln, SRU, flare, etc.)
Type of Emission Control(s) (i.e. Low NOx Burners, ESP, SCR, SNCR, DFGD, WFGD, etc.)
Type of Fuel Combusted
Applicable Air Quality Regulations governing source (Provide site Air Permit if available)
Number of Monitoring Points (If multiple points, please describe, i.e.SCR inlet duct, FGD inlet duct, stack, etc.)
Expected PO Issue Date (mm/dd/yy)
Requested Delivery Date (mm/dd/yy)
Expected Startup Date (mm/dd/yy)
Expected Certification Date (mm/dd/yy)
Site Elevation (Feet above Sea Level) |  | ft.
Stack / Duct Inside Diameter (If square or rectangular, please provide dimensions as width (w) x height (h)) |  | in.
Distance Upstream (up) or Downstream (dn) from any Flow Disturbance (Any breaching, bend or opening in the stack or duct is a disturbance.) |  | in. up
in. dn
Stack / Duct Orientation (Vertical or Horizontal run)
Probe Mounting Orientation (Vertical or Horizontal)
Width of Stack Annular Space if Lined (if applicable) |  | in.
Thickness of Stack / Duct Liner (If applicable) |  | in.
Stack / Duct Wall Thickness |  | in.
Stack / Duct Pipe Flange Size (i.e. 4" ANSI 150#, etc.) |  | in.
Stack / Duct Flange Pipe Spool Length, Flanfe Face to Inside Stack / Duct Wall (Typically 7 in.) |  | in.
Distance from Sample Probe Location to Analyzer Cabinet / Shelter (Tube Bundle Length) |  | ft.
Probe Location Ambient Temperature (min / max) |  | ° F min
° F max
Stack / Duct Gas Temperature (min / typ / max) |  | ° F min
° F typ
° F max
Stack / Duct Gas Pressure (min / typ / max) |  | in. H2O min
in. H2O typ
in. H2O max
Stack / Duct Gas Moisture Content (Typical) |  | %
Plant Instrument Air Pressure (min / max) |  | psig min
psig max
Plant Instrument Air Dewpoint |  | ° F
Equipment shelter required? (If yes, provide requested size / if no, insert NA) |  | L x W x H (ft)
Analyzer Cabinet / Shelter Location Ambient Temperature (min / max) |  | ° F min
° F max
Plant Power Provided (i.e. 480VAC, 60Hz, 3-Ф, etc.) |  | V, Hz, Ф
UPS Power Required?
UPS Power Provided? (If yes, please provide power source info, i.e. 120VAC, 60Hz, 1-Ф, etc.) |  | V, Hz, Ф
Area Classification for CEMS enclosure interior? (General, Cl 1, Div 2 etc.)
Area Classification for CEMS enclosure exterior? (General, Cl 1, Div 2 etc.)
Area Classification at sample point? (General, Cl 1, Div 2 etc.)
Please Specify Preferred Instrument Manufacturer and Range for Analyzers Listed Below (If not applicable, please insert NA)
NOx Analyzer |  | ppm
SO2 Analyzer |  | ppm
CO Analyzer |  | ppm
COS Analyzer |  | ppm
CS2 Analyzer |  | ppm
TS Analyzer |  | ppm
TRS Analyzer |  | ppm
THC Analyzer |  | ppm
NH3 Analyzer |  | ppm
Hg Analyzer |  | µg/m3
HCl Analyzer |  | ppm
CO2 Analyzer (Diluent) |  | %
O2 Analyzer (Diluent) |  | %
Volumetric Flow Monitor |  | scfm
Opacity Monitor |  | %
PM Monitor |  | mg/m3
Data Acquisition and Handling System Information
Is there a preferred DAHS vendor? (If yes, please state name)
If PLC required, please state manufacturer and model
If HMI required, please state manufacturer and model
Are there PC specifications? (If yes, please state)
Is there a required amount of spare I/O? (If yes please state) |  | %
Is a Remote Client PC required?
On-Site Services Requirements (If required, please state # of days (D) and mobilizations (M). If not applicable, please insert NA)
Installation Assistance |  | D / M
Equipment Startup & Commissioning |  | D / M
RATA Support |  | D / M
RATA Test (Seller or Customer Supplied?)
Will all testing be performed in one monilization to site (If no, please provide number of mobilizations)
Documentation Requirements (If required, # of electronic (E) and printed (P) copies. If not applicable, please insert NA)
Technical Data (Provided in Adobe pdf format or state otherwise) |  | E / P
Project Schedules (Provided in Microsoft Projects or Adobe pdf format or state otherwise) |  | E / P
Drawings (Provided in Adobe pdf format. AutoCAD format available upon request) |  | E / P
Operation & Maintenance Manuals (Provided in hardcopy and Adobe pdf format on DVD) |  | E / P
EPA Quality Assurance/Quality Control Plan (Provided in Microsoft Word format or state otherwise) |  | E / P
EPA Monitoring Plan (Required for 40CFR75 Sources Only) |  | E / P
Additonal Notes: (Please provide information on project requirements not covered above.)